## SUMMARY
MATERIAL TAKEOFF AND COST ESTIMATE STATEMENT
PROJECT NAME: |  | Central Project
LOCATION: |  | 1134 120TH Street., Los Angeles, CA 90059 |  | TOTAL AREA(SF) |  | 39915
Area May Vary
Sr # | REFERENCE | DESCRIPTION |  |  | TOTAL COST | $COST/SF
DIVISION WISE SUMMARY
CSI DIVISIONS
01-General Conditions
02-Demolition Of Existing Items
03-Concrete
04-Masonry
05-Metals
06-Wood, Plastics & Composites
07-Thermal & Moisture Protection
08-Openings
09-Finishes
10-Specialites
11-Equipment
12-Furnishings
|  | 13-Special Construction |  |  | 0
14-Conveying Equipment
21-Fire Protection
22-Plumbing
23-Heating, Ventilations & Air Conditioning (HVAC)
26-Electrical
|  | 27-Communications |  |  | 0
|  | 28-Electronic Safety & security |  |  | 0
31-Earthwork
|  | 32A-Shoring |  |  | 0
32-Exterior Improvements
33-Utilities
SUB TOTAL
OVERHEAD |  |  | 5%
PROFIT |  |  | 5%
INSURANCE |  |  | 0%
CONTINGENCY |  |  | 0%
NET TOTAL

## ESTIMATE
MATERIAL TAKEOFF AND COST ESTIMATE STATEMENT
[8 empty] | Project Name: |  | Central Proejct
[8 empty] | Location: |  | 1134 120TH Street., Los Angeles, CA 90059
Sr # | REFERENCE | DESCRIPTION | QUANTITY | WASTE | TOTAL QTY | UNIT | COST/UNIT | MATERIAL TOTAL | UNIT LABOR | TOTAL LABOR | TOTAL COST | REMARKS | TRADE COST
01. GENERAL CONDITIONS
GENERAL CONDITIONS
|  | Permit | 1 | 0% |  | LS | 0 |  | 0
|  | Supervision | 1 | 0% |  | LS | 0
|  | Final Cleanup | 1 | 0% |  | LS | 0 |  | 0
|  | Mobilization Cost | 1 | 0% |  | LS | 0
|  | Project Overheads | 1 | 0% |  | LS | 0 |  | 0
|  | Bonds | 1 | 0% |  | LS | 0 |  | 0
|  | Fees (Architect & Engineer) | 1 | 0% |  | LS | 0 |  | 0
|  | Temporary Control & Facilities | 1 | 0% |  | LS | 0 |  | 0
02. EXISTING CONDITIONS
| A1.0 | DEMOLITION
|  | Remove Existing Concrete Driveway | 4861.2 | 0% |  | SF | 0 |  | 2.25
|  | Remove Existing Concrete Curb & Gutter | 304.58 | 0% |  | LF | 0 |  | 4.52
03. CONCRETE
CONCRETE FOR FOUNDATION
Continuous Foundation
| S-1 | 18" Wide X 24" Deep Continuous Concrete Foundation, Reinforced With 2#6 At Top And Bottom (1806 LF) |  | 5% |  | CY | 450 |  | 400
Isolated Foundation
| S-1 | 30" X 30" X 24" Concrete Pad, Reinforced With #5@8" O.C. Each Way At Top And Bottom (1 EA) |  | 5% |  | CY | 450 |  | 400
|  | 42" X 42" X 24" Concrete Pad, Reinforced With #5@8" O.C. Each Way At Top And Bottom (4 EA) |  | 5% |  | CY | 450 |  | 400
|  | 48" X 48" X 24" Concrete Pad, Reinforced With #5@8" O.C. Each Way At Top And Bottom (5EA) |  | 5% |  | CY | 450 |  | 400
|  | 60" X 60" X 24" Concrete Pad, Reinforced With #5@8" O.C. Each Way At Top And Bottom (1 EA) |  | 5% |  | CY | 450 |  | 400
CONCRETE FOR SLABS
| S-1 | 5" thick Concrete Slab On Grade, Reinforced With #4@16" O.C. Each Way |  | 5% |  | CY | 450 |  | 400
04. MASONRY
CMU
|  | 6'' Thick CMU Or Cast-In-Place Concrete Planter Wall (3'-6'' High) |  | 5% |  | SF | 5.6 |  | 12.9
05. METALS
| A2.1/A2.4 | LADDER
|  | 19'-8'' Long Ladder (VIF) | 5 | 0% |  | EA | 2600 |  | 850
RAILING
|  | 36" High Stair Hand Rail | 228.33 | 5% |  | LF | 40 |  | 16
|  | 36" High Equipment Screen | 132.78 | 5% |  | LF | 40 |  | 16
|  | 42" High Deck/Stair Guardrail | 349.5 | 5% |  | LF | 45 |  | 18
STEEL COLUMNS & BEAMS
| S-2 To S-4 | Column: HSS 4 X 4 X 1/4 (14 EA) |  | 5% |  | LBS | 3.88 |  | 1.65
| S-2 To S-4 | Beam EB-1: HSS 8 X 4 X 3/16 |  | 5% |  | LBS | 3.88 |  | 1.65
|  | Floor Beam 2FB-7: W12 X 96 |  | 5% |  | LBS | 3.88 |  | 1.65
STEEL STRAPS
| S-2 To S-4 | Simpson MST48 Strap | 190 | 0% |  | EA | 42 |  | 15
|  | Simpson MST60 Strap |  | 0% |  | EA | 42 |  | 15
|  | Simpson MST72 Strap |  | 0% |  | EA | 42 |  | 15
HOLDOWNS
| S-2 To S-4 | Simpson Holdown HDU-5 |  | 0% |  | EA | 75 |  | 20
|  | Simpson Holdown HDU-8 |  | 0% |  | EA | 75 |  | 20
|  | Simpson Holdown HDU-11 |  | 0% |  | EA | 75 |  | 20
|  | Simpson Holdown HDU-14 |  | 0% |  | EA | 75 |  | 20
06. WOOD PLASTICS & COMPOSITES
| A2.1/A2.4 | MILLWORK
|  | 3'-0" Deep Closet w/ Shelves & Rods | 13.46 | 5% |  | LF | 255 |  | 100
|  | 2'-6" Deep Closet w/ Shelves & Rods | 60.93 | 5% |  | LF | 242 |  | 95
|  | 2'-4" Deep Closet w/ Shelves & Rods | 92.69 | 5% |  | LF | 234 |  | 90
|  | 2'-0" Deep Closet w/ Shelves & Rods | 259.75 | 5% |  | LF | 220 |  | 85
|  | 1'-0'' Deep Kitchen Wall Cabinet | 842.37 | 5% |  | LF | 180 |  | 64
|  | 2'-0'' Deep Kitchen Base Cabinet | 695.92 | 5% |  | LF | 220 |  | 85
|  | 1'-10'' Deep Vanity Base Cabinet | 238.15 | 5% |  | LF | 190 |  | 75
BLOCKING
|  | Backing For Grab Bars | 787.5 | 5% |  | LF | 5.86 |  | 2.2
|  | Blocking For Wall Mounted Accessories |  | 5% |  | LF | 5.86 |  | 2.2
WALL FRAMING
|  | 3x4 Wood Stud @ 16'' oc (Wall Height = 45'-2'') | 5218.8662 | 5% |  | LF | 1.48 |  | 1.4
|  | 3x4 Wood Stud @ 16'' oc (Wall Height = 10'-0'') | 467.6692 | 5% |  | LF | 1.48 |  | 1.4
|  | 2x8 Wood Stud @ 16'' oc (Wall Height = 15'-0'') | 4710.9023 | 5% |  | LF | 1.38 |  | 1.32
|  | 2x8 Wood Stud @ 16'' oc (Wall Height = 10'-0'') | 6349.6241 | 5% |  | LF | 1.38 |  | 1.32
|  | 2x6 Wood Stud @ 16'' oc (Wall Height = 15'-0'') | 15093 | 5% |  | LF | 1.28 |  | 1.22
|  | 2x6 Staggered Stud @ 16'' oc (Wall Height = 15'-0'') | 4796.6165 | 5% |  | LF | 1.28 |  | 1.22
|  | 2x6 Staggered Stud @ 16'' oc (Wall Height = 10'-0'') | 7063.9098 | 5% |  | LF | 1.28 |  | 1.22
|  | 2x6 Wood Stud @ 16'' oc (Wall Height = 10'-0'') | 20134 | 5% |  | LF | 1.28 |  | 1.22
|  | 2x6 Wood Stud @ 16'' oc (Wall Height = 3'-6'') | 2056.5789 | 5% |  | LF | 1.28 |  | 1.22
|  | (2) 2x6 Wood Stud Top Runner | 9594.8 | 5% |  | LF | 1.28 |  | 1.22
|  | 2x6 Wood Stud Bottom Runner | 4797.4 | 5% |  | LF | 1.28 |  | 1.22
|  | (2) 2x6 Staggered Stud Top Runner | 2730 | 5% |  | LF | 1.28 |  | 1.22
|  | 2x6 Staggered Stud Bottom Runner | 1365 | 5% |  | LF | 1.28 |  | 1.22
|  | (2) 3x4 Wood Stud Top Runner | 432 | 5% |  | LF | 1.48 |  | 1.4
|  | 3x4 Wood Stud Bottom Runner | 216 | 5% |  | LF | 1.48 |  | 1.4
|  | (2) 2x8 Wood Stud Top Runner | 2525 | 5% |  | LF | 1.38 |  | 1.32
|  | 2x8 Wood Stud Bottom Runner | 1263 | 5% |  | LF | 1.38 |  | 1.32
ROUGH CARPENTRY
| S-2 To S-4 | DR-1: 4 X 14 Blocking | 613.02 | 5% |  | LF | 8.96 |  | 3.5
|  | DR-2: 4 X 14 Blocking As Drag | 320.26 | 5% |  | LF | 8.96 |  | 3.5
WOODEN BEAMS AND HEADERS
| S-2 To S-4 | Floor Beam 2FB-1: 6 X 14 DF #1 | 37.18 | 5% |  | LF | 14.75 |  | 6.94
|  | Floor Beam 2FB-2: 4 X 14 DF #1 | 13.02 | 5% |  | LF | 12.2 |  | 4.85
|  | Floor Beam 2FB-3: 4 X 14 DF #1 | 28.15 | 5% |  | LF | 12.2 |  | 4.85
|  | Floor Beam 2FB-4: 7" X 14" Parallam 2.2E | 11.71 | 5% |  | LF | 18.36 |  | 7.72
|  | Floor Beam 2FB-5: 7" X 14" Parallam 2.2E | 17.97 | 5% |  | LF | 18.36 |  | 7.72
|  | Floor Beam 2FB-6: 5.25" X 14" Parallam 2.2E | 6 | 5% |  | LF | 17.92 |  | 7.1
|  | Floor Beam 2FB-8: 5.25" X 14" Parallam 2.2E | 52.09 | 5% |  | LF | 17.92 |  | 7.1
|  | Floor Beam 2FB-9: 7" X 14" Parallam 2.2E | 18.63 | 5% |  | LF | 18.36 |  | 7.72
|  | Floor Beam 2FB-10: 5.25" X 14" Parallam 2.2E | 11.07 | 5% |  | LF | 17.92 |  | 7.1
|  | Floor Beam 2FB-11: 5.25" X 14" Parallam 2.2E | 32.69 | 5% |  | LF | 17.92 |  | 7.1
|  | Floor Beam 3FB-1: 6 X 14 DF #1 | 46.21 | 5% |  | LF | 14.75 |  | 6.94
|  | Floor Beam 3FB-3: 4 X 14 DF #1 | 36.77 | 5% |  | LF | 12.2 |  | 4.85
|  | Floor Beam: 4 X 12 | 98.93 | 5% |  | LF | 11.84 |  | 4.36
|  | Floor Beam: 5.25 X 14 PSL 2.2E | 6.01 | 5% |  | LF | 17.92 |  | 8.2
|  | Header: 4 X 6 DF #1 | 1138.82 | 5% |  | LF | 10.26 |  | 4.7
|  | Roof Beam RB-1: 6 X 12 DF #1 | 94.61 | 5% |  | LF | 14.36 |  | 6.25
|  | Roof Beam RB-2: 4 X 12 DF #1 | 72 | 5% |  | LF | 11.84 |  | 4.36
|  | Roof Beam RB-3: 4 X 12 DF #1 | 210.45 | 5% |  | LF | 11.84 |  | 4.36
|  | Roof Beam RB-4: 7" X 11.875" Parallam 2.2E | 11.98 | 5% |  | LF | 18.26 |  | 7.85
WOODEN POSTS
| S-2 To S-4 | Post: 4 X 6 (985 EA) | 11220 | 5% |  | LF | 10.94 |  | 4.82
|  | Post: 6 X 6 (2 EA) | 23 | 5% |  | LF | 14.75 |  | 6.36
|  | Post: 6 X 8 (29 EA) | 406 | 5% |  | LF | 16.2 |  | 6.94
WOODEN JOIST
| S-2 To S-4 | Floor Joist 2FJ-1: 2 X 14 DF #2 @ 16" O.C. |  | 5% |  | LF | 4.25 |  | 1.52
|  | Floor Joist 2FJ-2: 2 X 14 DF #2 @ 12" O.C. |  | 5% |  | LF | 4.25 |  | 1.52
|  | Floor Joist 3FJ-1: 2 X 14 DF #1 @ 16" O.C. |  | 5% |  | LF | 4.25 |  | 1.52
|  | Floor Joist 3FJ-2: : 2 X 14 DF #1 @ 12" O.C. |  | 5% |  | LF | 4.25 |  | 1.52
|  | Stringer SJ-1: 2 X 16 DF #1 @ 16" O.C. |  | 5% |  | LF | 4.84 |  | 1.7
|  | Roof Rafter RR-1: 2 X 12 DF #2 @ 16" O.C. |  | 5% |  | LF | 3.66 |  | 1.38
|  | Roof Rafter RR-2: 1.75" X 11.25 Microllam 2.2E @ 16" O.C. |  | 5% |  | LF | 8.72 |  | 3.2
SHEATHING
| S-2 To S-4 | Floor Sheathing: 3/4" Plywood CD-X Panel Index = 32/0 | 26355 | 5% |  | SF | 2.1 |  | 1.05
|  | Number of Sheets (Assumed Sheet Size = 8'-0" X 4'-0") |  | 0% |  | EA
|  | 10D Nails At Boundary Spacing = 4" O.C., Field Spacing = 12" O.C. And Edge Spacing = 6' O.C. |  | 0% |  | EA
| S-2 To S-4 | Roof Sheathing: 5/8" CDX Plywood, Panel Index = 32/0, | 13610 | 5% |  | SF | 2.05 |  | 1
|  | Number of Sheets (Assumed Sheet Size = 8'-0" X 4'-0") |  | 0% |  | EA
|  | 10D Nails At Boundary Spacing = 4" O.C., Field Spacing = 12" O.C. And Edge Spacing = 6' O.C. |  | 0% |  | EA
SHEARWALLS
| S-2 To S-4 | Shearwall 3
|  | Wall Sheathing: 15/32" Structural 1 4 or 5-Ply | 25937 | 5% |  | SF | 2 |  | 1
|  | Number of Sheets (Assumed Sheet Size = 8'-0" X 4'-0") |  | 0% |  | EA
|  | 10D Nails At Field Spacing = 12" O.C. And Edge Spacing = 4" O.C. |  | 0% |  | EA
|  | 5/8" Diameter Anchor Bolts, Embedded To 9" |  | 0% |  | EA | 14 |  | 6.6
|  | Simpson SDS 1/4" Screws |  | 0% |  | EA | 1.88 |  | 1.02
|  | Simpson A35 Framing Angle Anchors |  | 0% |  | EA | 3.2 |  | 1.88
| S-2 To S-4 | Shearwall 4
|  | Wall Sheathing: 15/32" Structural 1 5-Ply | 8546 | 5% |  | SF | 2 |  | 1
|  | Number of Sheets (Assumed Sheet Size = 8'-0" X 4'-0") |  | 0% |  | EA
|  | 10D Nails At Field Spacing = 12" O.C. And Edge Spacing = 3" O.C. |  | 0% |  | EA
|  | 5/8" Diameter Anchor Bolts, Embedded To 9" |  | 0% |  | EA | 14 |  | 6.6
|  | Simpson SDS 1/4" Screws |  | 0% |  | EA | 1.88 |  | 1.02
|  | Simpson A35 Framing Angle Anchors |  | 0% |  | EA | 3.2 |  | 1.88
| S-2 To S-4 | Shearwall 5
|  | Wall Sheathing: 15/32" Structural 1 5-Ply | 4944 | 5% |  | SF | 2 |  | 1
|  | Number of Sheets (Assumed Sheet Size = 8'-0" X 4'-0") |  | 0% |  | EA
|  | 10D Nails At Field Spacing = 12" O.C. And Edge Spacing = 2" O.C. |  | 0% |  | EA
|  | 5/8" Diameter Anchor Bolts, Embedded To 9" |  | 0% |  | EA | 14 |  | 6.6
|  | Simpson SDS 1/4" Screws |  | 0% |  | EA | 1.88 |  | 1.02
|  | Simpson A35 Framing Angle Anchors |  | 0% |  | EA | 3.2 |  | 1.88
| S-2 To S-4 | Shearwall 6
|  | Wall Sheathing: 15/32" Structural 1 5-Ply |  | 5% |  | SF | 2 |  | 1
|  | Number of Sheets (Assumed Sheet Size = 8'-0" X 4'-0") |  | 0% |  | EA
|  | 10D Nails At Field Spacing = 12" O.C. And Edge Spacing = 4" O.C. |  | 0% |  | EA
|  | 3/4" Diameter Anchor Bolts, Embedded To 9" |  | 0% |  | EA | 14 |  | 6.6
|  | Simpson SDS 1/4" Screws |  | 0% |  | EA | 1.88 |  | 1.02
|  | Simpson A35 Framing Angle Anchors |  | 0% |  | EA | 3.2 |  | 1.88
07. THERMAL & MOISTURE PROTECTION
| A2.4 | ROOFING
|  | Class A Built-Up Roofing w/ Duro-Last 50 MIL Membrane | 12896.99 | 5% |  | SF | 2.55 |  | 1.35
|  | Cover Board (Assumed, VIF) | 12896.99 | 5% |  | SF | 1.68 |  | 1.12
|  | Common Open Space | 5956.1 | 5% |  | SF | 0.2 |  | 0.3
|  | Solar Zone Area | 1940.53 | 5% |  | SF | 3.52 |  | 2.52
|  | Roof Cricket | 934.05 | 5% |  | SF | 3.88 |  | 4.65
|  | Rooftop Mechanical Equipment Pad | 26.59 | 5% |  | SF | 4.12 |  | 3.5
THERMAL & WEATHER PROOFING
|  | Water Curtain | 53.5 | 5% |  | LF | 4.52 |  | 1.85
|  | Water Resistive Barrier | 12896.99 | 5% |  | SF | 1.2 |  | 0.88
|  | R-5 Rigid Insulation | 12896.99 | 5% |  | SF | 1.58 |  | 0.52
|  | R-38 Batt Insulation At Roof | 12896.99 | 5% |  | SF | 1.65 |  | 0.55
|  | R-21 Batt Insulation At Floors | 22365 | 5% |  | SF | 1.6 |  | 0.54
|  | R-19 Batt Insulation At Walls | 24197 | 5% |  | SF | 1.58 |  | 0.53
|  | R-13 Batt Insulation At Walls | 63437 | 5% |  | SF | 1.52 |  | 0.5
|  | (2) Layers Of Grade "D" Building Paper At Exterior Side | 48394.5 | 5% |  | SF | 0.42 |  | 0.65
FLASHING & SHEET METALS
|  | Curb Flashing | 30.64 | 5% |  | LF | 2.12 |  | 3.58
|  | 1x2 Wood Nailer | 30.64 | 5% |  | LF | 2.25 |  | 3.95
|  | Pre-Finished Metal Coping | 779.35 | 5% |  | LF | 4.2 |  | 9.95
|  | 2x_ Wood Nailer | 779.35 | 5% |  | LF | 2.25 |  | 3.95
|  | Continuous Cleat | 779.35 | 5% |  | LF | 2.12 |  | 3.85
|  | Cant Strip | 779.35 | 5% |  | LF | 2.8 |  | 5.1
|  | Base Flashing | 779.35 | 5% |  | LF | 2.12 |  | 3.58
|  | Drip Edge Metal Flashing |  | 5% |  | LF | 2.12 |  | 3.58
|  | Continuous Sealant And Backer Rod | 1559 | 5% |  | LF | 1.12 |  | 1.65
ROOF DRAINAGE
|  | 3'-0'' Dia Roof Vent | 1 | 0% |  | EA | 142 |  | 52
|  | Roof Gutter | 29.3 | 5% |  | LF | 2.12 |  | 3.52
|  | Downspout | 544.82 | 5% |  | LF | 2.12 |  | 3.52
GREEN ROOF
|  | Roof Planter Area | 1623.08 | 5% |  | SF | 8.85 |  | 3.65
08. OPENINGS
| A2.1/A2.4 | DOORS
|  | Door Tag# 1, Dimension: 3'-0"x8'-0", Door Material: Wood Door w/ Frame, Door Type: Single Panel Swing Door | 78 | 0% |  | EA | 785 |  | 310
|  | Door Tag# 2, Dimension: 2'-10"x7'-0", Door Material: Wood Door w/ Frame, Door Type: Single Panel Swing Door | 145 | 0% |  | EA | 675 |  | 285
|  | Door Tag# 3, Dimension: 3'-0"x8'-0", Door Material: Metal Door w/ Frame, Door Type: Single Panel Swing Door | 8 | 0% |  | EA | 785 |  | 310
|  | Door Tag# 4, Dimension: 4'-0"x7'-0", Door Material: Wood Door w/ Frame, Door Type: Double Panel Sliding Door | 8 | 0% |  | EA | 950 |  | 365
|  | Door Tag# 5, Dimension: 5'-0"x7'-0", Door Material: Wood Door w/ Frame, Door Type: Double Panel Sliding Door | 24 | 0% |  | EA | 1100 |  | 420
|  | Door Tag# 6, Dimension: 6'-0"x7'-0", Door Material: Wood Door w/ Frame, Door Type: Double Panel Sliding Door | 34 | 0% |  | EA | 1250 |  | 475
|  | Door Tag# 8, Dimension: 3'-0"x7'-0", Door Material: Metal Door w/ Frame, Door Type: Single Panel Swing Door | 3 | 0% |  | EA | 700 |  | 300
|  | Door Tag# 9, Dimension: 3'-0"x7'-0", Door Material: Metal Door w/ Frame, Door Type: Single Panel Swing Door | 1 | 0% |  | EA | 700 |  | 300
|  | Door Tag# 10, Dimension: 6'-0"x8'-0", Door Material: Glass Door w/ Metal Frame, Door Type: Double Panel Swing Door | 3 | 0% |  | EA | 1350 |  | 510
|  | Door Tag# 11, Dimension: 4'-0"x8'-0", Door Material: Metal Door w/ Frame, Door Type: Double Panel Swing Sliding Door | 3 | 0% |  | EA | 1100 |  | 425
|  | Door Tag# 12, Dimension: 6'-0"x7'-0", Door Material: Metal Door w/ Frame, Door Type: Double Panel Swing Door | 2 | 0% |  | EA | 1150 |  | 460
|  | Door Tag# 14, Dimension: 3'-0"x6'-0", Door Material: Metal Door w/ Frame, Door Type: Single Panel Swing Door | 1 | 0% |  | EA | 700 |  | 395
|  | Door Tag# 15, Dimension: 3'-0"x8'-0", Door Material: Glass Door w/ Metal Frame, Door Type: Single Panel Swing Door | 2 | 0% |  | EA | 900 |  | 420
|  | Door Tag# 16, Dimension: 3'-0"x42", Door Material: Metal Door w/ Frame, Door Type: Single Panel Swing Door | 4 | 0% |  | EA | 600 |  | 240
|  | Door Tag# 17, Dimension: 2'-0"x2'-0", Door Material: Metal Door w/ Frame, Door Type: Single Panel Swing Door | 4 | 0% |  | EA | 550 |  | 200
|  | Door Tag# 18, Dimension: 3'-0"x6'-8", Door Material: Metal Door w/ Frame, Door Type: Single Panel Swing Door | 1 | 0% |  | EA | 675 |  | 285
WINDOWS
|  | Window Tag # A, Dimension: 6'-0"x6'-0", Window Material: Vinyl Window, Window Type: Casement | 59 | 0% |  | EA | 625 |  | 285
|  | Window Tag # B, Dimension: 4'-0"x6'-0", Window Material: Vinyl Window, Window Type: Sliding Window | 92 | 0% |  | EA | 512 |  | 225
|  | Window Tag # C, Dimension: 2'-0"x6'-0", Window Material: Vinyl Window, Window Type: Casement Window | 11 | 0% |  | EA | 450 |  | 200
|  | Window Tag # D, Dimension: 2'-0"x2'-0", Window Material: Vinyl Window, Window Type: Casement Window | 20 | 0% |  | EA | 385 |  | 152
|  | Window Tag # F, Dimension: 9'-0"x8'-0", Window Type: Fixed Window | 2 | 0% |  | EA | 1450 |  | 440
|  | Window Tag # G, Dimension: 9'-0"x12'-8", Window Type: Fixed Window | 3 | 0% |  | EA | 1600 |  | 550
DOOR HARDWARE SET
|  | Allowance Is Added In Door Hardware Set Number Of Door =321 Each | 1 | 0% |  | LS
09. FINISHES
| A2.1/A3.2 | FLOORING
|  | Carpet Flooring | 6255.39 | 5% |  | SF | 3.95 |  | 2.02
|  | Ceramic Tile Flooring | 9403.4 | 5% |  | SF | 5.52 |  | 4.2
|  | Hardwood Flooring | 17476.35 | 5% |  | SF | 4.52 |  | 2.65
|  | Sealed Concrete Flooring | 1186.38 | 5% |  | SF | 0.96 |  | 1.98
BASE, TRIM
|  | Vinyl Wall Base | 2520.47 | 5% |  | LF | 2.85 |  | 3.5
|  | Tile Wall Base | 3697.92 | 5% |  | LF | 3.88 |  | 9.65
|  | Wood Wall Base | 4519.85 | 5% |  | LF | 3.88 |  | 3.28
|  | Rubber Wall Base | 409.05 | 5% |  | LF | 2.85 |  | 3.5
|  | Door Trim | 11456.7 | 5% |  | LF | 3.35 |  | 4.2
|  | Door Threshold | 23.36 | 5% |  | LF | 14.6 |  | 6.2
DRYWALL
|  | (1) Layer Of 5/8'' Type X Gypsum Wall Board At Interior Side | 70873 | 5% |  | SF | 0.62 |  | 1.62
|  | (1) Layer Of 5/8'' Gypsum Wall Board At Both Sides | 80197 | 5% |  | SF | 0.6 |  | 1.6
|  | 5/8" Type X Gypsum Board Ceiling | 33232.06 | 5% |  | SF | 0.62 |  | 1.75
|  | 1/2" Plywood At Both Side | 124.4 | 5% |  | SF | 2.1 |  | 1.02
|  | (1) Layer Of 1/2" Exterior Grade Plywood Sheathing At Exterior Side | 24197.3 | 5% |  | SF | 2.1 |  | 1.02
|  | Sealant At Penetrations | 23443 | 5% |  | LF | 0.15 |  | 0.38
WALL FINISHES
|  | (1) Layer Of 5/8'' Moisture Resistant Gypsum Wall Board | 5122.46 | 5% |  | SF | 0.62 |  | 1.6
|  | (1) Layer Of Backer Board Under Ceramic Wall Tiles | 5975.1 | 5% |  | SF | 2.1 |  | 3.25
|  | Ceramic Wall Tiles | 5975.1 | 5% |  | SF | 5.5 |  | 6.95
PAINTING
|  | Paint On Gypsum Wall Board (1 Primer + 2 Coats Finish) | 105103.3 | 5% |  | SF | 0.4 |  | 1.4
|  | Paint On Gypsum Board Ceiling (1 Primer + 2 Coats Finish) | 33232.06 | 5% |  | SF | 0.4 |  | 1.45
|  | Gray Paint On Doors (1 Primer + 2 Coats Finish) | 316 | 0% |  | EA | 48 |  | 102
|  | Graffiti -Melt Anti- Graffiti Coating (LARR # RR25042-T) On Doors | 5 | 0% |  | EA | 52 |  | 115
|  | Graffiti -Melt Anti- Graffiti Coating (LARR # RR25042-T) On Door Trim | 86 | 5% |  | LF | 0.8 |  | 1.85
|  | Paint On Door Trim (1 Primer + 2 Coats Finish) | 11370.7 | 5% |  | LF | 0.68 |  | 1.6
EXTERIOR FINISHES
|  | Horizontal Fiber Cement Siding | 3489.9 | 5% |  | SF | 3.55 |  | 2.12
|  | Smooth Stucco (Dark Gray) Over Paper Back Wire Mesh At Exterior Side | 6637.6 | 5% |  | SF | 3.95 |  | 6.52
|  | Smooth Stucco (Orange) Over Paper Back Wire Mesh At Exterior Side | 1612.31 | 5% |  | SF | 3.95 |  | 6.52
|  | Smooth Stucco (White) Over Paper Back Wire Mesh At Exterior Side | 12294.03 | 5% |  | SF | 3.95 |  | 6.52
|  | Graffiti -Melt Anti- Graffiti Coating LARR # RR25042-T (Upto 9'-0'' High From Grade) | 4767.82 | 5% |  | SF | 0.5 |  | 1.5
|  | 12" Wide Metal Awning | 171.02 | 5% |  | SF | 42 |  | 18
|  | Storefront/Window Reveal | 4116.68 | 5% |  | LF | 3.52 |  | 5.5
|  | 5"x 8" Awning Sports Bracket | 13 | 0% |  | EA | 25 |  | 10
10. SPECIALITIES
| A2.1/A2.4 | SIGNAGE
|  | 12013 Exterior Signage | 1 | 0% |  | EA | 240 |  | 95
|  | Central Apartment Complex Signage | 1 | 0% |  | EA | 125 |  | 65
|  | Exit Signage | 44 | 0% |  | EA | 125 |  | 65
MILBOXES
|  | 12" Wide Mail Box | 24.85 | 5% |  | LF | 200 |  | 85
FIRE EXTINGUISHER
|  | Fire Extinguisher | 1 | 0% |  | EA | 142 |  | 75
|  | Fire Extinguisher Cabinet | 1 | 0% |  | EA | 295 |  | 150
BATHROOM ACCESSORIES
|  | 24" Long Grab Bar | 75 | 0% |  | EA | 65 |  | 22
|  | 36" Long Grab Bar |  | 0% |  | EA | 70 |  | 28
|  | 42" Long Grab Bar |  | 0% |  | EA | 85 |  | 31
|  | Tissue Paper Holder |  | 0% |  | EA | 105 |  | 58
|  | Soap Dispenser | 75 | 0% |  | EA | 215 |  | 95
|  | Hand Dryer |  | 0% |  | EA | 400 |  | 122
|  | Towel Bar |  | 0% |  | EA | 95 |  | 42
|  | Vanity Mirror |  | 0% |  | EA | 210 |  | 100
11. EQUIPMENT
| A2.1/A2.4 | APPLIANCES
|  | 4 Burner Cooking Range | 74 | 0% |  | EA | 2600 |  | 850
|  | Exhaust Hood | 74 | 0% |  | EA | 750 |  | 200
|  | (2) 15" Wide Breadboards |  | 0% |  | EA | 250 |  | 100
|  | Dishwasher |  | 0% |  | EA | 950 |  | 350
|  | Refrigerator | 75 | 0% |  | EA | 1800 |  | 350
|  | Washer | 6 | 0% |  | EA | 950 |  | 325
|  | Dryer | 3 | 0% |  | EA | 900 |  | 300
12. FURNISHINGS
| A2.1/A2.4 | COUNTERTOP & BACKSPLASH
|  | 4'' High Bathroom Backsplash | 238.4 | 5% |  | LF | 28 |  | 11
|  | 4'' High Kitchen Backsplash | 905.24 | 5% |  | LF | 28 |  | 11
|  | 2'-0'' Wide Stone Kitchen Countertop |  | 5% |  | SF | 78 |  | 42
|  | 1'-10'' Wide Stone Vanity Countertop |  | 5% |  | SF | 78 |  | 42
14. CONVEYING EQUIPMENTS
| A2.1/A2.4 | ELEVATOR PIT
|  | 9'-0"x8'-0" Elevator, 3500 LB No Of Opening = 4 Each | 1 | 0% |  | EA | 95000 |  | 100000
ELEVATOR ACCESSORIES
|  | Call Button | 1 | 0% |  | EA | 250 |  | 100
|  | Emergency Phone | 1 | 0% |  | EA | 375 |  | 110
21. FIRE PROTECTION
| A.02 | ALLOWANCE
|  | Allowance Provided For Fire Suppression, Sprinkler Heads etc | 1 | 0% |  | LS | 25000 |  | 45000
22. PLUMBING
PIPING
|  | 1" Dia Cold Water Pipe | 1800 | 10% |  | LF | 7.94 |  | 15.2
|  | 1-1/2" Dia Cold Water Pipe | 110 | 10% |  | LF | 12.84 |  | 19.36
|  | 1-1/4" Dia Cold Water Pipe | 68 | 10% |  | LF | 10.2 |  | 17.36
|  | 2" Dia Cold Water Pipe | 25 | 10% |  | LF | 19.66 |  | 26.85
|  | 2-1/2" Dia Cold Water Pipe | 205 | 10% |  | LF | 23.34 |  | 30.74
|  | 3" Dia Cold Water Pipe | 112 | 10% |  | LF | 29 |  | 34
|  | 3/4" Dia Cold Water Pipe | 2200 | 10% |  | LF | 5.86 |  | 12.36
|  | 4" Dia Cold Water Pipe | 18 | 10% |  | LF | 36 |  | 38
|  | G-1" Dia Gas Pipe | 168 | 10% |  | LF | 7.94 |  | 15.2
|  | G-2" Dia Gas Pipe | 78 | 10% |  | LF | 14.85 |  | 21.52
|  | G-3/4" Dia Gas Pipe | 200 | 10% |  | LF | 5.86 |  | 12.36
|  | 1" Dia Hot Water Pipe | 2150 | 10% |  | LF | 7.94 |  | 15.2
|  | 1-1/2" Dia Hot Water Pipe | 112 | 10% |  | LF | 12.84 |  | 19.36
|  | 3/4" Dia Hot Water Pipe | 2150 | 10% |  | LF | 5.86 |  | 12.36
|  | 3/4" Dia Hot Water Return Pipe | 40 | 10% |  | LF | 5.86 |  | 12.36
|  | 1" Dia Hot Water Return Pipe | 1650 | 10% |  | LF | 7.94 |  | 15.2
|  | 3" Dia vent Pipe | 1400 | 10% |  | LF | 27.12 |  | 34.12
|  | 1-1/2" Dia Waste Pipe | 880 | 10% |  | LF | 17.85 |  | 26.25
|  | 2" Dia Waste Pipe | 1650 | 10% |  | LF | 22 |  | 29
|  | 3" Dia Waste Pipe | 115 | 10% |  | LF | 27.12 |  | 34.12
|  | 4" Dia Waste Pipe | 1685 | 10% |  | LF | 39.66 |  | 45.66
|  | 6" Dia Waste Pipe | 500 | 10% |  | LF | 48 |  | 55
FIXTURES
|  | WC-1, Water Closet | 76 | 0% |  | EA | 780 |  | 300
|  | LA-1, Lavatory | 76 | 0% |  | EA | 650 |  | 245
|  | S-1, Sink | 75 | 0% |  | EA | 600 |  | 220
|  | BT-1, Bathtub | 75 | 0% |  | EA | 1800 |  | 850
|  | WH, Water heater, AO Smith, 113LBS, 120/1/60Hz | 4 | 0% |  | EA | 3100 |  | 1100
|  | ET-1, Expansion Tank, 4.5 Gal, 10LBS, WATTS PLT-12 | 2 | 0% |  | EA | 1600 |  | 650
|  | Storage Tank | 1 | 0% |  | EA | 1800 |  | 700
DEVICES
|  | Water Meter | 74 | 0% |  | EA | 440 |  | 165
|  | 2" Backflow Preventer | 2 | 0% |  | EA | 345 |  | 122
|  | 3" Pressure Reducing Valves | 2 | 0% |  | EA | 220 |  | 85
|  | 3" Vent Thru Roof | 2 | 0% |  | EA | 142 |  | 65
|  | Hosebib | 3 | 0% |  | EA | 120 |  | 52
23. HEATING VENTILATING & AIR CONDITIONING (HVAC)
DUCTWORK
|  | OA-34"x12" Outside Duct | 85 | 5% |  | LF | 40 |  | 75
|  | EA-4" Dia Exhaust Duct | 575 | 5% |  | LF | 4.3884 |  | 9.54
|  | EA-5" Dia Exhaust Duct | 1050 | 5% |  | LF | 5.4556 |  | 11.86
|  | EA-6" Dia Exhaust Duct | 402 | 5% |  | LF | 6.325 |  | 13.75
|  | EA-8" Dia Exhaust Duct | 155 | 5% |  | LF | 8.1972 |  | 17.82
|  | SA-12"x12" Supply Duct | 68 | 5% |  | LF | 12.12 |  | 26.2
|  | SA-12"x8" Supply Duct | 950 | 5% |  | LF | 11.7116 |  | 25.46
|  | SA-16"x12" Supply Duct | 180 | 5% |  | LF | 15.95 |  | 34.52
|  | SA-16"x16" Supply Duct | 102 | 5% |  | LF | 17.25 |  | 35.65
|  | SA-23"x12" Supply Duct | 25 | 5% |  | LF | 21 |  | 45.26
|  | SA-30"x30" Supply Duct | 68 | 5% |  | LF | 29.5 |  | 58
|  | SA-6" Dia Supply Duct | 38 | 5% |  | LF | 6.325 |  | 13.75
|  | SA-8" Dia Supply Duct | 55 | 5% |  | LF | 8.1972 |  | 17.82
|  | SA-8"x6" Supply Duct | 68 | 5% |  | LF | 7.728 |  | 16.8
HVAC EQUIPMENT
|  | Tag: WAC-1, Mfg: LG, Model: LW1215HR, Cooling Capacity: 12000 Btu/Hr, Heating Capacity: 11200 Btu/Hr | 74 | 0% |  | EA | 3800 |  | 1600
|  | Tag: FC-1, Mfg: Comfortmaker, Model: DLFSHAH18XAK, Cooling Capacity: 18000 Btu/Hr, Heating Capacity: 18000 Btu/Hr | 74 | 0% |  | EA | 5500 |  | 1800
|  | Tag: CU-1, Mfg: Comfortmaker, Model: DLCSRAH18AAK Heating Capacity: 18000 Btu/Hr, Weight: 113 Ibs Cooling Capacity: 18000 Btu/Hr | 1 | 0% |  | EA | 3500 |  | 1700
|  | Tag: FC-1, Mfg: Comfortmaker, Model: DLCSRAH18AAK Heating Capacity: 18000 Btu/Hr, Weight: 113 Ibs Cooling Capacity: 18000 Btu/Hr | 1 | 0% |  | EA | 5500 |  | 1800
|  | Tag: SF-1, Mfg: Panasonic Whisperfresh, Model: FV-15NLFS1, CFM: 50, Volts: 120, Weight: 17.4 Ibs | 74 | 0% |  | EA | 250 |  | 85
|  | Tag: EF-1, Mfg: Greenheck, Model: SP-A70, CFM: 54, Volts: 115, Weight: 12 Ibs | 42 | 0% |  | EA | 250 |  | 85
|  | Tag: EF-2, Mfg: Greenheck, Model: SP-A250, CFM: 255, Volts: 115, Weight: 24 Ibs | 7 | 0% |  | EA | 385 |  | 100
|  | Tag: EF-3, Mfg: Greenheck, Model: SP-A50, CFM: 50, Volts: 115, Weight: 12 Ibs | 6 | 0% |  | EA | 250 |  | 85
|  | Tag: EF-4, Mfg: Greenheck, Model: SP-A50, CFM: 30, Volts: 115, Weight: 12 Ibs | 2 | 0% |  | EA | 225 |  | 64
|  | Tag: EF-5, Mfg: Greenheck, Model: SP-A125, CFM: 100, Volts: 115, Weight: 17 Ibs | 8 | 0% |  | EA | 275 |  | 78
|  | Tag: EF-6, Mfg: Greenheck, Model: SP-A390-VG, CFM: 150, Volts: 115, Weight: 24 Ibs | 6 | 0% |  | EA | 310 |  | 88
|  | Tag: EF-7, Mfg: Greenheck, Model: CUE-070-VG, CFM: 240, Volts: 115, Weight: 22 Ibs | 3 | 0% |  | EA | 325 |  | 95
AIR DEVICES
|  | 22"x22" Louver | 35 | 0% |  | EA | 275 |  | 185
|  | SA-150CFM, Supply Diffuser | 65 | 0% |  | EA | 300 |  | 122
|  | SD-12"x12",85CFM, Supply Diffuser | 55 | 0% |  | EA | 225 |  | 100
|  | SD-150CFM,12"x12", Supply Diffuser | 40 | 0% |  | EA | 265 |  | 115
|  | SD-190CFM,12"x12", Supply Diffuser | 38 | 0% |  | EA | 295 |  | 132
MISC
|  | Smoke Detector | 74 | 0% |  | EA | 260 |  | 100
|  | Thermostat | 95 | 0% |  | EA | 110 |  | 52
26. ELECTRICAL
LIGHT FIXTURES
|  | Surface Mounted 4' Led Tube With Built In Occupancy Sensor, 18 Watts | 5 | 0% |  | EA | 210 |  | 140
|  | Surface Mounted 4' Led Tube, 18 Watts | 6 | 0% |  | EA | 210 |  | 140
|  | Weather Proof Wall Mounted Led Fixture, 12 Watts, Nema 3 Rated | 31 | 0% |  | EA | 160 |  | 115
|  | Weather Proof Wall Mounted Emergency Led Unit- Equipment With An Integral 90 Min. Back- Up, 120V, Nema-3 Rated Manufacturer: Lithonia, Model: Quantum Series Elm2 Led | 29 | 0% |  | EA | 175 |  | 120
|  | Wall Mounted Emergency Led Unit- Equipment With An Integral 90 Min. Back- Up, 120V Manufacturer: Lithonia, Model: Quantum Series Elm2 Led | 59 | 0% |  | EA | 175 |  | 120
|  | Recessed Mounted 12" Diameter Led Down Light, 12 Watts | 46 | 0% |  | EA | 165 |  | 116
|  | Recessed Mounted 14" Diameter Led Down Light, 12 Watts | 29 | 0% |  | EA | 170 |  | 118
|  | Wall Mounted 14" Diameter Led Down Light, 12 Watts | 1 | 0% |  | EA | 170 |  | 118
|  | Recessed Mounted 12" Diameter Led Down Light With Built- In Occupancy Sensor, 12 Watts | 48 | 0% |  | EA | 165 |  | 116
|  | Ceiling Mounted Emergency Exit Sign With An Integral 90 Min. Back- Up, 120V Manufacturer: Lithonia, Model: Quantum Series, Thermoplastic Lqm El N | 6 | 0% |  | EA | 155 |  | 110
|  | Surface Mounted 4' Led Tube With 90- Min Battery Unit, 18 Watts Manufacturer: Rethink, Model: Rt48-4K110 | 1 | 0% |  | EA | 210 |  | 140
|  | Weather Proof Emergency Unit- Equipment/ Exit- Sign Combination With An Integral 90 Min. Back- Up, 120V And Wih A Built- In Photocell And Motion Sensor Device Manufacturer: Lithonia, Model: Quantum Series Lhqm Led | 2 | 0% |  | EA | 160 |  | 115
|  | Wall Mounted Led Fixture, 12 Watts | 148 | 0% |  | EA | 160 |  | 115
|  | Recessed Mounted 9" Diameter Led Down Light, 12 Watts | 296 | 0% |  | EA | 155 |  | 110
|  | Recessed Mounted 9" Diameter Residential Grade Led Down Light, 12 Watts | 694 | 0% |  | EA | 155 |  | 110
LIGHTING CONTROLLERS
|  | Toggle Switch | 226 | 0% |  | EA | 18 |  | 62
|  | 3- Way Toggle Switch | 212 | 0% |  | EA | 35 |  | 72
|  | 3- Way Dimmer Switch | 131 | 0% |  | EA | 38 |  | 78
|  | 3- Way Manually On- Automatic Off Occupancy Sensor Dimmer Switch | 2 | 0% |  | EA | 42 |  | 85
|  | Manually On- Automatic Off Occupancy Sensor Dimmer Switch | 87 | 0% |  | EA | 45 |  | 95
|  | Ceiling Mounted Occupancy Sensor | 15 | 0% |  | EA | 180 |  | 120
RECEPTACLES
|  | 15/20A, 120V Duplex Receptacles | 1005 | 0% |  | EA | 20 |  | 59
|  | Gfi, 15/20A, 120V Duplex Receptacles | 402 | 0% |  | EA | 78 |  | 57
|  | Weather Proof Gfi, 15/20A, 120V Duplex Receptacles | 5 | 0% |  | EA | 78 |  | 57
POWER DISTRIBUTION (ELECTRICAL PANELS)
|  | P1 Studio Panel 120/208V, 1-Ph, 3-W, 80A, Min. 22Kaic Flush Mounted | 8 | 0% |  | EA | 1650 |  | 1100
|  | P2 Bedroom Panel 120/ 208V, 1- Ph, 3-W, 80A, Min. 22Kaic Flush Mounted | 66 | 0% |  | EA | 1650 |  | 1100
|  | Panel Hpl 120/ 208V, 3- Ph, 4-W, 30A Surface Mounted | 1 | 0% |  | EA | 1350 |  | 760
|  | Panel Hpp 120/ 208V, 3- Ph, 4-W, 100A Surface Mounted | 1 | 0% |  | EA | 1750 |  | 1150
|  | Panel Hpp2 120/ 208V, 3- Ph, 4-W, 50A Surface Mounted | 1 | 0% |  | EA | 1400 |  | 800
|  | MSB, 600A Bus, 120/208Vm 3-Phase, 4-Wire | 1 | 0% |  | EA | 7500 |  | 2800
|  | MSC, 600A Bus, 120/208Vm 3-Phase, 4-Wire | 1 | 0% |  | EA | 7500 |  | 2800
CIRCUIT BREAKERS AND FUSES
|  | 400-Ampere, 3- Pole Main Circuit Breaker | 1 | 0% |  | EA | 440 |  | 185
|  | 15-Ampere, 1- Pole Circuit Breaker | 517 | 0% |  | EA | 24 |  | 38
|  | 15-Ampere, 2- Pole Circuit Breaker | 74 | 0% |  | EA | 34 |  | 48
|  | 20-Ampere, 1- Pole Circuit Breaker | 420 | 0% |  | EA | 27 |  | 40
|  | 20-Ampere, 2- Pole Circuit Breaker | 31 | 0% |  | EA | 36 |  | 52
|  | 25-Ampere, 2- Pole Circuit Breaker | 198 | 0% |  | EA | 38 |  | 55
|  | 30-Ampere, 2- Pole Circuit Breaker | 21 | 0% |  | EA | 40 |  | 58
|  | 30-Ampere, 3- Pole Circuit Breaker | 1 | 0% |  | EA | 78 |  | 60
|  | 50-Ampere, 3- Pole Circuit Breaker | 1 | 0% |  | EA | 88 |  | 64
|  | 80-Ampere, 2- Pole Circuit Breaker | 74 | 0% |  | EA | 55 |  | 70
|  | 80-Ampere, 3- Pole Circuit Breaker | 1 | 0% |  | EA | 132 |  | 70
|  | 200-Ampere, 3- Pole Circuit Breaker | 1 | 0% |  | EA | 220 |  | 95
|  | Fused Disconnect Switch | 3 | 0% |  | EA | 85 |  | 65
|  | 100- Ampere Switch, 60-Ampere Fuse Disconnect Switch | 1 | 0% |  | EA | 132 |  | 58
|  | 600- Ampere Switch, 600-Ampere Fuse, 3- Pole Class T Disconnect Switch | 2 | 0% |  | EA | 750 |  | 234
SAFETY SYSTEM
|  | 120V Smoke/ Detector With Battery Back-Up | 140 | 0% |  | EA | 250 |  | 85
|  | 120V "Co- Smoke" Combo Detector With Battery Back- Up | 74 | 0% |  | EA | 352 |  | 115
TRANSFORMER
|  | Pad Mounted Dwp Xfmr Transformer | 1 | 0% |  | EA | 6500 |  | 2200
METERING
|  | Main Meter 400A, 120/208 V- 3Ph- 4W | 1 | 0% |  | EA | 600 |  | 250
|  | Sub- Meters 600A, 120/208V- 3Ph-4W | 74 | 0% |  | EA | 850 |  | 310
GROUNDING
|  | Grounding Rod Bigger Than 1/2" Dia | 1 | 0% |  | EA | 112 |  | 52
|  | #3/0 Gnd Cu Grounding Wire | 40 | 0% |  | LF | 4.52 |  | 1.65
MISC.
|  | Junction Box | 163 | 0% |  | EA | 90 |  | 100
|  | Weather Proof Junction Box | 3 | 0% |  | EA | 90 |  | 100
|  | Photo Cell Device | 1 | 0% |  | EA | 155 |  | 60
|  | Motor Starter | 1 | 0% |  | EA | 42 |  | 85
ALLOWANCES
|  | Allowance Provided For Conductors & Conduits | 1 | 0% |  | LS | 35000 |  | 50000
31. EARTHWORK
| A1.0/C-2.0 | EXCAVATION
|  | Trenching & Excavation | 1906 | 15% |  | CY | 0 |  | 24
|  | Excavation For Concrete Pavement & Accessories | 488 | 15% |  | CY | 0 |  | 24
|  | Excavation For Foundation | 492 | 15% |  | CY | 0 |  | 24
BACKFILL
|  | Trenching Backfill | 1668 | 15% |  | CY | 0 |  | 32
|  | Site Concrete Backfill | 412 | 15% |  | CY | 0 |  | 32
|  | Backfill For Foundation | 280 | 15% |  | CY | 0 |  | 32
GRADING
|  | Cut | 3575 | 15% |  | CY | 0 |  | 24
|  | Fill | 3244 | 15% |  | CY | 0 |  | 32
32. EXTERIOR IMPROVEMENTS
| A1.0/C-2.0/L5/L-6 | CONCRETE PAVEMENT & ACCESSORIES
|  | 4'' Thick Concrete Walkway Over 4'' Thick Aggregate Base Course | 4861.2 | 5% |  | SF | 6.36 |  | 2.25
|  | 24'' Wide Concrete Curb & Gutter | 304.58 | 5% |  | LF | 7.1 |  | 9.2
|  | 6'' Thick PCC Transformer Pad Over 6'' Thick Aggregate Base Course | 80.02 | 5% |  | SF | 7.92 |  | 3.38
|  | 6'' Thick PCC Sump Pump Pad Over 6'' Thick Aggregate Base Course | 16.18 | 5% |  | SF | 7.92 |  | 3.38
|  | 3-1/2'' Thick Permeable Paving Area For Infiltration Over 2'' Thick 3/8'' Sized Washed Gravel Or Wash Sand Layer Over 4'' Thick 1/4''-1/2'' Sized Washed Gravel Layer Over 12''-24'' Thick 1-1/2''-3'' Sized Washed Gravel Base Layer Over Geotextile Fabric | 3452.31 | 5% |  | SF | 10.54 |  | 4.85
|  | 6''x8'' Concrete MOW Strip | 492.78 | 5% |  | LF | 6.65 |  | 7.85
FENCES & GATE
|  | 42'' High Fixed Fence | 30.2 | 5% |  | LF | 6.62 |  | 3.2
|  | 6'-0'' High Fixed Fence | 18.09 | 5% |  | LF | 14 |  | 6
|  | 6'-0'' High Solid Fence (Under Separate Permit) | 287.89 | 5% |  | LF | 0 |  | 0
|  | Dimension: 3'-0''x3'-6'', Pedestrian Gate | 3 | 0% |  | EA | 730 |  | 250
|  | Dimension: 3'-0''x6'-0'', Pedestrian Gate | 2 | 0% |  | EA | 950 |  | 275
SITE FURNISHING
|  | 1'-6''x5'-6'' Bench | 4 | 0% |  | EA | 375 |  | 110
PARKING SPACES
|  | 3'-0''x6'-0'' Short Term Bike Rack | 6 | 0% |  | EA | 325 |  | 120
|  | 1'-6''X6'-0'' Long Term Bike Parking | 56 | 0% |  | EA | 378 |  | 130
LANDSCAPING
SHRUBS
|  | Botanical Name: Lagerstroemia Indica X Faurei Muskogee, Common Name: Muskogee Crape Myrtle, Size: 24'' Box | 6 | 0% |  | EA | 125 |  | 65
|  | Botanical Name: Washington Hybrida, Common Name: Hybrid Fan Palm, Size: 20'-0'' B.T.H. | 11 | 0% |  | EA | 225 |  | 78
|  | Botanical Name: Olea Europaea Monher, Common Name: Majestic Beauty Fruitless Olive, Size: 24'' Box | 4 | 0% |  | EA | 184 |  | 85
|  | Botanical Name: Metasequoia Glyptostroboides WAH-08AG' PP#29, 472, Common Name: Amber Glow Dawn Redwood, Size: 24'' Box | 10 | 0% |  | EA | 150 |  | 68
|  | Botanical Name: Parkinsonia X. Desert Museum, Common Name: Desert Museum Palo Verdo, Size: 24'' Box | 4 | 0% |  | EA | 195 |  | 72
|  | Botanical Name: Aeonium Sunburst, Common Name: Copper Pinwheel, Size: 5 GAL | 36 | 0% |  | EA | 238 |  | 102
|  | Botanical Name: Agave Attenuatta Ray Of Light, Common Name: Foxtail Agave, Size: 5 GAL | 8 | 0% |  | EA | 220 |  | 100
|  | Botanical Name: Aucuba Japonica Mr. Goldstrike, Common Name: Mr. Goldstrike Aucuba, Size: 15 GAL | 4 | 0% |  | EA | 182 |  | 85
|  | Botanical Name: Agapanthus Africanus Queen Anne, Common Name: Queen Anne Agapanthus, Size: 5 GAL | 24 | 0% |  | EA | 175 |  | 70
|  | Botanical Name: Asparagus Densiflorus Myers, Common Name: Foxtail Fern, Size: 5 GAL | 8 | 0% |  | EA | 175 |  | 70
|  | Botanical Name: Crassula Capitella Campfire, Common Name: Campfire Crassula, Size: 5 GAL | 15 | 0% |  | EA | 200 |  | 80
|  | Botanical Name: Dianella Tasmanica Silver Streak, Common Name: Variegated Flaz Lily, Size: 5 GAL | 117 | 0% |  | EA | 228 |  | 85
|  | Botanical Name: Dianella Revoluta DR5000, Common Name: Little Rev Flax Lily, Size: 5 GAL | 112 | 0% |  | EA | 300 |  | 120
|  | Botanical Name: Dodonaea Viscosa Purpurea, Common Name: Purple Hopseed Bush, Size: 15 GAL | 9 | 0% |  | EA | 255 |  | 112
|  | Botanical Name: Festuca Glauca Elijah Blue, Common Name: Elijah Blue Fescue, Size: 1 GAL | 26 | 0% |  | EA | 210 |  | 108
|  | Botanical Name: Furcraea Foetida Mediopicta, Common Name: Mauritius Hemp, Size: 5 GAL | 20 | 0% |  | EA | 200 |  | 80
|  | Botanical Name: Ilex Crenata Sky Pencil, Common Name: Sky Pencil Japanese Holly, Size: 5 GAL | 6 | 0% |  | EA | 175 |  | 70
|  | Botanical Name: Ligustrum Japonicaum Texanum, Common Name: Waxlead Privet, Size: 5 GAL | 37 | 0% |  | EA | 150 |  | 58
|  | Botanical Name: Lomandra Hybridaa Lomlon PP#23, 034, Common Name: Lime Tuff Mat Rush, Size: 1 GAL | 62 | 0% |  | EA | 125 |  | 42
|  | Botanical Name: Ophiopogon Japonicus, Common Name: Dwarf Monda Grassl, Size: 1 GAL | 84 | 0% |  | EA | 138 |  | 48
|  | Botanical Name: Phormium Pink Stripe, Common Name: Pink Stripe New Zealand Flaxl, Size: 15 GAL | 13 | 0% |  | EA | 165 |  | 52
|  | Botanical Name: Sansevieria Trifasciata, Common Name: Snake Plant, Size: 5 GAL | 28 | 0% |  | EA | 185 |  | 58
GROUND COVERS
|  | Botanical Name: Senecio Serpens, Common Name: Blue Chalksticks | 350 | 5% |  | SF | 2.25 |  | 1.02
|  | Decomposed Granite, Compacted Stabilized Decomposed Granite California Gold 3/8'' Minus w/ 11% Fines Wetted And Compact 2'' Layer Over Native Soil | 352 | 5% |  | SF | 3.52 |  | 1.2
|  | Landscape Area | 355.52 | 5% |  | SF | 1.52 |  | 0.95
PLANTERS
|  | 2'-0''x21'-0'' Permovoid Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 7'-0''x93'-6'' Permovoid Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 6'-0''x39'-4'' Permovoid Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 6'-0''x35'-6'' Permovoid Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 6'-0''x27'-6'' Permovoid Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 11'-3''x13'-6'' Rooftop Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 11'-3''x26'-8'' Rooftop Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 10'-0''x18'-6'' Rooftop Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 11'-4''x11'-9'' Rooftop Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 8'-10''x18'-6'' Rooftop Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 9'-9''x11'-9'' Rooftop Planter |  | 5% |  | SF | 10 |  | 6.6
|  | 7'-0''x9'-10'' Rooftop Planter | 2 | 5% |  | SF | 10 |  | 6.6
PLANTERS MATERIAL
|  | "3'' Thick Mulching Layer Over 2'-6'' Deep Imported Soil Layer Over Permovoid Wicking Geotextile Over Passive Irrigation System w/ Capillary Cones" | 945.69 | 5% |  | SF | 4.8 |  | 2
|  | Waterproofing Membrane |  | 5% |  | SF | 2.6 |  | 1.2
33. UTILITIES
| C-2.0 | DRAINAGE SYSTEM
|  | 6'' Dia SCH 40 Polyvinyl Chloride Pipe | 594.08 | 5% |  | LF | 48 |  | 52.8
|  | Curb Drain | 1 | 0% |  | EA | 375 |  | 100
|  | Sump Pump | 1 | 0% |  | EA | 1850 |  | 650
FIRE WATER UTILITIES
|  | Fire Hydrant | 1 | 0% |  | EA | 300 |  | 102
|  | Fire Department Connection | 1 | 0% |  | EA | 145 |  | 42
ELECTRICAL UTILITIES
|  | Power Pole | 1 | 0% |  | EA | 650 |  | 200
|  | Panic Hardware | 3 | 0% |  | EA | 145 |  | 75
|  | Power Pole Support Anchor | 1 | 0% |  | EA | 42 |  | 20
|  | Fire Department Connection | 1 | 0% |  | EA | 145 |  | 42
| L-5/L-6 | IRRIGATION
|  | Bubbler, Mfr: Hunter PCB-50 | 35 | 0% |  | EA | 165 |  | 60
|  | Quick Coupler, Mfr: Railbird | 3 | 0% |  | EA | 180 |  | 75
|  | Control Zone Kit, Mfr: Railbird XACZ-100/075-PRF | 4 | 0% |  | EA | 550 |  | 200
|  | 1'' Dia Flow Sensor, Mfr: Hunter FCT-100 | 2 | 0% |  | EA | 225 |  | 90
|  | Manual Flush Valve, Mfr: Hunter PLD-BV | 19 | 0% |  | EA | 222 |  | 90
|  | 1'' Dia Master Valve, Mfr: Hunter, IBV Series Valve | 2 | 0% |  | EA | 228 |  | 95
|  | 1'' Dia Brass Ball Valve, Mfr: NIBCO | 2 | 0% |  | EA | 195 |  | 80
|  | Drip Line Flush Cap | 19 | 0% |  | EA | 100 |  | 42
|  | 1'' Dia Air Relief Valve | 19 | 0% |  | EA | 195 |  | 80
|  | 1'' Dia Potable Water Meter | 1 | 0% |  | EA | 490 |  | 125
|  | Brass Locking Key Hose Bib, Mfr: NIBCO | 1 | 0% |  | EA | 122 |  | 65
|  | Wireless Solar Sync Sensor, Mfr: Hunter | 1 | 0% |  | EA | 220 |  | 100
|  | 1'' Dia Irrigation Water Meter, Mfr: Hunter HC-100 Flow | 1 | 0% |  | EA | 490 |  | 125
|  | Control Zone Kit - Remote Control Valve For Drip/Bubbler System, Mfr: Railbird XCZ-100/075-PRF | 10 | 0% |  | EA | 540 |  | 175
|  | 1'' Dia Backflow Prevention Unit w/ Stainless Steel Enclosure, Mfr: Febco 825Y | 1 | 0% |  | EA | 385 |  | 132
|  | Outdoor Wall Mounted Controller w/ Solar Sync, Mfr: Hunter Icore 1c-600-Pl | 1 | 0% |  | EA | 325 |  | 120
|  | 1.5'' Dia Pressure Mainline, Class 315 Polyvinyl Chloride | 190.32 | 5% |  | LF | 8.85 |  | 15
|  | 1'' Dia Non Pressure Lateral Line, Sch. 40 Polyvinyl Chloride | 1892.95 | 5% |  | LF | 7.94 |  | 14.6
|  | Sub-Surfacing Dripline Tubing 1.0 GPH Emitters | 1612 | 5% |  | LF | 4.36 |  | 1.8
|  | 2'' Dia SCH. 40 Polyvinyl Chloride Sleeve | 838.35 | 5% |  | LF | 11.52 |  | 18
SUB TOTAL
OVERHEAD |  |  | 5%
PROFIT |  |  | 5%
INSURANCE |  |  | 0%
CONTINGENCY |  |  | 0%
NET TOTAL